## Sheet7
Project Name | Cell Counter System
Module Name | GUI
Created By | Kapil
Creation Date | 2019-04-10
Reviewed By | Nimesh
Test Scenarion ID | Test Scenario Description | Test Case ID | Test Case Description | Test Steps | Preconditions | Test Data | Post conditions | Expected Result | Actual Result | Status
TS_GI_001 | Validate all buttons displayed on left pannel | 01_TC_GI_01 | Validate Open button | 1. RUN application | File Window should be opened for importing image | Any image file with various extensions allowed | Image should be load in central panel only | Image loaded without affecting panels | Image loaded correctly | Pass
|  | 01_TC_GI_02 | Validate Count button | 1. RUN application 2. Import any type of image 3.Select any one option from options list | Button should be disabled till option is not selected from menu | Any image file with various extensions allowed | Button should be enabled if image resolution match with required crieteria | Button should be enable | Button enable correctly | Pass
|  | 01_TC_GI_03 | Validate Save button | 1. RUN application 2. Import any type of image 3. Select "Other" option 4. Create at least one React Box within image for reference | Button should be disabled till other option is not selected from menu and reference on image not be created | Any image file with various extensions allowed | Button should be enabled if image resolution match with required crieteria | Button allowed to save reference file | Reference file saved perfectly | Pass
|  | 01_TC_GI_04 | Validate Create RectBox button | 1. RUN application 2. Import any type of image 3. Select "Other" option | Button should be disabled till other option is not selected from menu | Any image file with various extensions allowed | Button should allow to use it multiple times | Button allowed to create rect. box | Multiple Rectangle boxes can be created succesfully | Pass
|  | 01_TC_GI_05 | Validate Duplicate RectBox button | 1. RUN application 2. Import any type of image 3. Select "Other" option 4. Create at least one React Box within image for reference | Button should be disabled till other option is not selected from menu and reference on image not be created | Any image file with various extensions allowed | Button shoud allow to use it multiple times after creating one reference box | Button allowed to copy multiple instances of single rect. box | Multiple Rectangle boxes can be copied from one original succesfully | Pass
|  | 01_TC_GI_06 | Validate Delete RectBox button | 1. RUN application 2. Import any type of image 3. Select "Other" option 4. Create at least one React Box within image for reference | Button should be disabled till other option is not selected from menu and reference on image not be created | Any image file with various extensions allowed | Button shoud allow to use it multiple times after creating one reference box and after deleting all boxes , again button should be disabled | Button allowed to delete multiple instances rect. box and disabled after not having any reference box | Multiple Rectangle boxes can be deleted succesfully and button goes to disable state as no more boxes available | Pass
|  | 01_TC_GI_07 | Validate Zoom In button | 1. RUN application 2. Import any type of image | Button should be disabled till any kind of image is not loaded on center panel | Any image file with various extensions allowed | Button should be disabled after not containg image in central panel | Button allowed to zoom in to look more deep in image | Image can be zoomed perfectly not afftecting other widgets | Pass
|  | 01_TC_GI_08 | Validate Zoom out button | 1. RUN application 2. Import any type of image | Button should be disabled till any kind of image is not loaded on center panel | Any image file with various extensions allowed | Button should be disabled after not containg image in central panel | Button allowed to zoom out to look more deep in image | Image can be zoomed out perfectly not afftecting other widgets | Pass
|  | 01_TC_GI_09 | Validate Fit Window button | 1. RUN application 2. Import any type of image | Button should be disabled till any kind of image is not loaded on center panel | Any image file with various extensions allowed | Button should be disabled after not containg image in central panel | Button allowed to resize height and width to size of central panel | Image can be resized perfectly not afftecting other widgets | Pass
|  | 01_TC_GI_10 | Validate Fit Width button | 1. RUN application 2. Import any type of image | Button should be disabled till any kind of image is not loaded on center panel | Any image file with various extensions allowed | Button should be disabled after not containg image in central panel | Button allowed to resize height and width to 364*360 approx. | Image can be resized perfectly not afftecting other widgets | Pass
TS_GI_002 | Validate all widgets of right pannel | 02_TC_GI_01 | Validate box label widget | 1. Import any image 2. Select "Other COUNT" option 3.Create at least one React Box within image for reference | Widget should contain not anything till steps are not followed | Any image file with various extensions allowed | After removing all references boxes widget again wiped | As box create with label name then it should be displayed inside widget and deleting box removing also from widget | labels are stored for reference boxes as per name saved into label and removed succesfully after deleting it. | Pass
|  | 02_TC_GI_02 | Validate Log widget | 1. Import any image 2.Select any one option | Image quality should be more than of 300 * 300 | Any image file with various extensions allowed | After removing image , widget wiped out all details | No. of square/reactangles detected from image should be displayed in decreasing order in terms of area | Succesfully display decreasing order list of all squares form image | Pass
TS_GI_003 | Validate all menus of menubar | 03_TC_GI_01 | Validate Open File Menu | 1. RUN application | All actions are accessable for user | Any image file with various extensions allowed | Image should be load in central panel only | Image loaded without affecting panels | Image loaded correctly | Pass
|  | 03_TC_GI_02 | Validate Save File menu | 1. RUN application 2. Import any type of image 3. Select "Other" option 4. Create at least one React Box within image for reference | action should be disabled till other option is not selected from options and reference on image not be created | Any image file with various extensions allowed | action should be enabled if image resolution match with required crieteria | action allowed to save reference file | Reference file saved perfectly | Pass
|  | 03_TC_GI_03 | Validate Quit File menu | 1. RUN application | Application should be opened | - | - | Software must be shut down | Software closed perfectly | Pass
|  | 03_TC_GI_04 | Validate Options | 1. RUN application 2. Import any image | All options must be disabled till image not uploaded | Any image file with various extensions allowed | Any one option can be select at a time | Any one option can be opt for any image | For any kind of image one option succesfully opted | Pass
|  | 03_TC_GI_05 | Validate Help menu | 1. RUN application | Any PDF reader must be installed on PC | - | - | PDFs should be opened | PDFs are succesfully opened | Pass